Migration of Labview into the Test

of magnetic Properties

Marc Schnaitmann, Till Schwaderer, Smiljan Mahkovec, Jan Philipp Grünewald, Christian Meier

Prof. Dr. Helmut Förschner, Uwe Weidlich, Markus Salamon – SS 2017

Summary

This project deals with the migration of a measuring-system for magnetic properties in a new environment. Main task of this project was the mapping of Pascal-Code into the graphical coding language of LabVIEW. Further work was done regarding enhancing the program by code optimizations as well as the implementation of some new features (e.g.: overcurrent protection, graphical user interface …).
The result is a more user-friendly and reasonable code for the latest hardware that can be used to identify the main characteristics of transformer sheets.

The Project

| Subroutines Virtual Instruments | Flow Chart |  | Simple State Machine |
| --- | --- | --- | --- |
| - hardware communication - mathematical operations - plotting |  |  | - hardware communication - mathematical operations - plotting |
| Graphical User Interface (GUI) |  | Plot View |  |
| - has 3 tabs (main, options, plotting) - fully functional without the LabVIEW software |  | - overview about all properties - can be saved in different ways |  |