Migration of Labview into the Test

of magnetic Properties

Marc Schnaitmann, Till Schwaderer, Smiljan Mahkovec, Jan Philipp Grünewald, Christian Meier

Prof. Dr. Helmut Förschner, Uwe Weidlich, Markus Salamon – SS 2017

Summary

This project deals with the migration of a measuring-system for magnetic properties in a new environment. Main task of this project was the mapping of Pascal-Code into the graphical coding language of LabVIEW. Further work was done regarding enhancing the program by code optimizations as well as the implementation of some new features (e.g.: overcurrent protection, graphical user interface …).
The result is a more user-friendly and reasonable code for the latest hardware that can be used to identify the main characteristics of transformer sheets.

The Project

The state diagram:

Building SubVI’s for:

- hardware communication

- mathematical operations

- plotting

The simple state machine:

- hardware communication

- mathematical operations

- plotting

Plot View:

- overview about all properties

- can be saved in different ways

GUI (Graphical User Interface):

- has 3 tabs (main, options, plotting)

- fully functional without the labview software